PneumoScan

User Manual

Chest X-Ray Pneumonia Detection System

# 1. What Is PneumoScan AI?

PneumoScan AI is a web-based tool that helps analyse chest X-ray images to check for signs of pneumonia. You simply upload an X-ray image and the system tells you within seconds whether the scan appears normal or shows signs of pneumonia, along with a confidence level and a plain-English explanation.

The tool is designed for ease of use. You do not need any technical knowledge to use it. There are no complicated settings or medical jargon — just upload the image and read the result.

## 1.1 Who Is This For?

- Medical students and researchers who want to test AI-assisted diagnosis

- Healthcare educators demonstrating AI in medical imaging

- Course evaluators reviewing the MLOps project

- Anyone who wants to understand how AI reads a chest X-ray

# 2. Getting Started

## 2.1 How to Open the Application

The application runs in your web browser. No installation is needed on your end. Simply open your browser and go to the following address:

http://localhost:8501

The page will load within a few seconds. You should see the PneumoScan AI interface with a dark blue background.

## 2.2 Checking the System is Ready

Look at the top right corner of the upload box. You will see a green button that says API Online. This means the system is ready to analyse images.

## 2.3 Navigation

The application has three main sections, accessible from the left sidebar:

| Section | What it does |
| --- | --- |
| Single Scan | Upload and analyse one X-ray image at a time |
| Batch Testing | Upload and analyse multiple X-ray images at once |
| Prediction History | View all the scans you have analysed in this session |

3. Analysing a Single X-Ray

## 3.1 Step-by-Step Guide

- Click on Single Scan in the left sidebar.

- Click Browse files or drag and drop your X-ray image into the upload box.

- The image will appear on the left side of the screen.

- Click the Analyse This Scan button.

- Wait a moment — the result will appear on the right side of the screen.

## 3.2 Understanding the Result

Once the analysis is complete, you will see three things on the right side of the screen:

- A diagnosis label — either NORMAL or PNEUMONIA in large text

- A circular confidence gauge — showing how certain the AI is about its result, as a percentage

- A plain-English explanation — a sentence telling you what the result means in everyday language

| Result | What it means |
| --- | --- |
| NORMAL | The scan appears clear. No signs of pneumonia were detected. |
| PNEUMONIA | The scan shows signs that may indicate pneumonia. A doctor should be consulted. |

## 3.3 Technical Details (Optional)

If you want to see the raw numbers behind the result, click the Technical Details section below the plain-English explanation. It will show the exact confidence score, raw model score, response time, model filename, and decision threshold. This section is for advanced users and is not needed for normal use.

## 3.4 Uploading a New Image

To analyse a different image, click the X button next to the current filename to remove it, then upload the new image. The result will clear automatically when you remove the image, so you will never see old results for a new scan.

4. Batch Testing — Multiple Images at Once

If you have several X-ray images to check, use the Batch Testing section. This saves time compared to uploading one image at a time.

## 4.1 How to Use Batch Testing

- Click on Batch Testing in the left sidebar.

- Click Browse files and select multiple images at once (hold Ctrl or Cmd to select more than one).

- You will see how many files are selected.

- Click the Analyse All Scans button.

- A progress bar will appear while each image is being processed.

- When complete, you will see a summary showing total scanned, normal count, and pneumonia count.

- Below the summary, each image is listed with its individual result and a plain-English explanation.

5. Prediction History

Every scan you analyse in the current session is automatically saved to the Prediction History. This lets you review all your results in one place without having to re-upload images.

## 5.1 What the History Shows

- The filename of each image

- The diagnosis result (NORMAL or PNEUMONIA)

- The confidence percentage

- The response time in milliseconds

- The time the scan was analysed

- A plain-English summary of each result

## 5.2 Clearing the History

To clear all records from the history, click the Clear History button at the top of the history page. Note that history is only saved for the current browser session — it resets when you close or refresh the page.

# 6. Image Requirements

For the best results, make sure your X-ray images meet the following requirements:

| Requirement | Details |
| --- | --- |
| File format | JPG, JPEG, or PNG |
| Maximum file size | 200MB per image |
| Image type | Frontal chest X-ray (posteroanterior view preferred) |
| Image quality | Clear, not blurry or overexposed |
| Orientation | Upright, not rotated |

7. Frequently Asked Questions

How long does an analysis take?

Usually between 100 and 500 milliseconds. If the system is busy, it may take up to 2 seconds.

Can I use this on my phone or tablet?

Yes. The application works in any modern web browser including on mobile devices.

What happens if I upload the wrong type of file?

The system will only accept JPG, JPEG, and PNG files. If you try to upload another format, the file will not be accepted.

Is my image stored anywhere?

No. Images are processed in memory and are not saved to disk. Once you close the session, no image data is retained.

What does a confidence of 50% mean?

It means the AI is uncertain — the scan could go either way. This is a borderline case and a doctor's review is strongly recommended.

Can I trust a NORMAL result?

The model correctly identifies normal scans about 77% of the time. This means roughly 1 in 4 normal scans may be incorrectly flagged. Always confirm with a doctor.

# 8. Sidebar Information

The left sidebar shows useful information at all times:

- System Status — whether the API is online or offline

- Model Info — the model architecture, version, and key accuracy figures

- Navigation — links to Single Scan, Batch Testing, and History

- Disclaimer — a reminder that this tool is for educational use only

The model information panel shows the following key figures for reference:

| Metric | Value |
| --- | --- |
| Architecture | MobileNetV2 |
| Model version | v3 — proper 80/10/10 split |
| NORMAL accuracy | 77.4% |
| PNEUMONIA accuracy | 98.8% |
| Validation AUC | 99.3% |

9. Disclaimer and Limitations

Important: This application is built for educational and research purposes as part of a university project. It is not approved for clinical use and must not be used to make medical decisions.

The AI model was trained on a publicly available dataset of chest X-rays from Kaggle. Its accuracy figures are measured on that dataset and may differ in real-world clinical settings.

Known limitations:

- NORMAL accuracy is 77.4% — approximately 1 in 4 normal scans may be misclassified as pneumonia

- The model performs best on standard frontal chest X-rays

- Image quality significantly affects accuracy

- The model cannot distinguish between bacterial and viral pneumonia

- Results should always be reviewed by a qualified medical professional

If you or someone you know is experiencing symptoms of pneumonia, please seek immediate medical attention from a qualified healthcare provider.